Krownlab, Inc.

2351 NW York Street

Portland, Oregon USA 97210

Phone:	+1 503-292-6998

Website:	www.krownlab.com

E-mail:	support@krownlab.com

SECTION 102116.15 ‐ GLAZED SHOWER COMPARTMENTS

This manufacturer-provided product specification is formatted to Construction Specifications Institute (CSi) 3-Part, 2004 MasterFormat, in alignment with formatting conventions for AIA/ Arcom MasterSpec products; www.arcomnet.com/masterspec.

NOTES TO SPECIFIER:

Go to http://www.krownlab.com/downloads to verify that this is the most current version of the specifications.

This specification is intended to assist architecture and interior design professionals in the specification of specialty hardware for interior glazed shower compartments for residential and hospitality applications, using the Construction Specification Institute’s 3-part Section Format.

This section 102116.15 ‐ GLAZED SHOWER COMPARTMENTS is for the Freya product line by Krownlab, which meets the clear opening, operational and opening-force requirements of various Federal and state agencies, including the DOJ's "2010 ADA Standards for Accessible Design", the DOT's "ADA Standards for Transportation Facilities", the ABA standards of the various Federal agencies having jurisdiction, the International Code Council (ICC) A117.1, and HUD's "Fair Housing Accessibility Guidelines".

Sample language is provided for articles in Part 1 - General, Part 2 - Products, and Part 3 - Execution. The sample language, article/ paragraph numbering and overall section format should be edited to fit the design firm’s specifications and the design intent for the project.

Articles and paragraphs of this product specification assume the Project Manual will contain Division 01 “General Requirements” documents, including close coordination with the following sections as appropriate:

012500 “Substitution Procedures”

013300 “Submittal Procedures”

014300 “Quality Assurance”

016200 “Product Options”

016600 “Product Storage and Handling Requirements”

017400 “Cleaning and Waste Management”

017700 “Closeout Procedures”

017800 “Closeout Submittals”

If the project manual does not contain these Division 1 sections, Project-specific general requirements may be provided by the specifier under the appropriate articles within this section.

INSTRUCTIONS:

At paragraphs in blue text, hidden text may be available for guidance in making selections and edits. The specifier can access the hidden text by selecting on the ¶ symbol within Microsoft Word menus; text will be visible but will remain non-printable unless the font is changed from ‘hidden’ status. Once selections are made and other options deleted, all blue font colors should be changed to black.

Optional items requiring selection by the specifier are enclosed within brackets, e.g. “Color: [white] [black]”. Once selections are made and other options and brackets deleted, blue font color should be changed to black.

At paragraphs in green text, LEED and Earth Advantage requirements are indicated and should be confirmed with the project’s design intent. These requirements may be deleted if the project is not intended to attain sustainability certification. Once selections are made and other options deleted, green font color should be changed to black

SECTION 102116.15 ‐ GLAZED SHOWER COMPARTMENTS

GENERAL

Retain the article below if the Project Manual will contain Division 1 General Requirements documents:

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes:

All-glass shower compartments and specialty accessible sliding door and stationary panel hardware, meeting requirements for universal access.

Related Sections:

Retain and/or revise Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections:

[Section 061000 "Rough Carpentry"] [Section 061053 "Miscellaneous Rough Carpentry"] for blocking.

Section 088000 "Glazing" for the provision and installation of glass sliding doors and stationary panels.

Retain the articles below if products and work included in this Section are covered by cash or quantity allowance. It is recommended that, in lieu of the inclusion of allowance amounts at this section, provide a "Door Hardware Allowance" at a Division 1 Section “Allowances” indicating amounts and other requirements. Insert descriptions of items in this Section at Part 2 or Part 3 to provide information affecting the cost of the Work that is not included under the allowance.

DOOR HARDWARE ALLOWANCE

Furnish glazed shower compartments as part of Shower Compartments Allowance.

REFERENCES

American Architectural Manufacturers Association (AAMA):

AAMA 611 “Specifications for Class I and Class II Anodize Finish.”

ASTM International (ASTM):

ASTM A 27 “Standard Specification for Steel Castings, Carbon, for General Application.”

ASTM A 36 “Standard Specification for Carbon Structural Steel.”

ASTM A 47 “Standard Specification for Ferritic Malleable Iron Castings.”

ASTM A 240 “Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications.”

ASTM A 276 “Standard Specification for Stainless Steel Bars and Shapes (Type 304 cited).”

ASTM A 307 “Standard Specification for Carbon Steel Bolts, Studs, and Threaded Rod 60 000 PSI Tensile Strength (Grade A cited).”

ASTM A 500 “Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.”

ASTM A 554 “Standard Specification for Welded Stainless Steel Mechanical Tubing (Grade MT 304 cited).”

ASTM A 563 “Standard Specification for Carbon and Alloy Steel Nuts.”

ASTM A 582 Standard Specification for Free-Machining Stainless Steel Bars (Type 303 cited).”

ASTM A 666 “Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar (Type 304 cited).”

ASTM B 221 “Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.”

ASTM B 633 “Standard Specification for Electrodeposited Coatings of Zinc on Iron and Steel.”

ASTM E 488 “Standard Test Methods for Strength of Anchors in Concrete Elements.”

ASTM F 593 “Standard Specification for Stainless Steel Bolts, Hex Cap Screws, and Studs (Alloy Group 1 cited).”

ASTM F 594 “Standard Specification for Stainless Steel Nuts (Alloy Group 1 cited).”

SAE International (SAE):

SAE 51440C “Steel, Corrosion-Resistant, Bars, Wire, and Forgings, for Bearing Applications (AISI 440C cited).”

U.S. Department of Defense; United States Defense Standard:

MIL-A-8625F “Anodic Coatings, For Aluminum and Aluminum Alloys.”

Retain the articles below if black oxide finish is included in this Section for blackened stainless steel:

U.S. Department of Defense; United States Defense Standard:

MIL-DTL-13924D “Detail Specification, Coating, Oxide, Black, For Ferrous Metals.”

ACTION SUBMITTALS

Product Data: For each type of product indicated. Include construction and installation details, material descriptions, dimensions of individual components and profiles, and finishes.

Sustainability Submittals:

Retain Sections in subparagraphs below that contain requirements necessary to meet the sustainability goals of the project using the preferred sustainability program.

USGBC LEED Program: The requirements of the following LEED credits are mandatory for the work included in this section in order to contribute toward the achievement of LEED certification:

For LEED Credit MR 4, Krownlab products can contribute substantially, containing approximately 25 percent recycled content in aluminum components, approximately 40 percent postconsumer recycled content in mild steel components, and approximately 40 percent postconsumer recycled content and approximately 2 percent preconsumer recycled content in stainless steel components.

Credit MR 4: Manufacturers’ product data indicating percentages by weight of post-consumer and pre-consumer recycled content. Include statement indicating costs for each product having recycled content.

For LEED Credit MR 5, Krownlab products can contribute for projects up to five hundred miles distant, including: all of Oregon and Washington; north beyond Vancouver BC; east to Butte, MT; southeast to Twin Falls, ID; and south to Reno, NV and Sacramento, CA.

Credit MR 5: Provide certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material to Project, by rail, by inland waterway, by sea and by all other means. Include statement indicating cost for each regional material, and fraction by weight that is considered regional.

For Earth Advantage Environmentally Preferable Materials, Krownlab products can contribute for projects within Oregon, and up to two hundred miles distant, including: North to Everett, WA and east to Kennewick, WA.

Earth Advantage Commercial Program: Compliance with requirements of Earth Advantage Commercial measures may be used as one criterion to evaluate substitution requests and comparable product requests.

Local Materials: Materials extracted and manufactured within 200 miles of the project site or within any part of Oregon.

Shop Drawings: Include layout of sliding door and stationary panel hardware  on sliding doors and relationship to adjoining Work based on field-verified dimensions.

Coordinate locations for contractor-installed blocking within framed walls, by others.

Coordinate locations for contractor-installed anchors at concrete or masonry walls, by others.

Finish Samples: Provide two (2) finish samples for exposed door hardware of each type required, in each finish specified, prepared on minimum 2-by-2-inch (50 x 50 mm) substrate of same base metal.

INFORMATIONAL SUBMITTALS

Qualification Data: For Installer.

Warranty: Special warranty specified in this Section.

CLOSEOUT SUBMITTALS

Maintenance Data: For each type of door hardware, to be included by the General Contractor in the project maintenance manuals.

QUALITY ASSURANCE

Installer Qualifications: An entity that employs installers who are experienced in door hardware installations that are comparable in material, design, and extent to that indicated for this Project.

WARRANTY

Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace components of door hardware that fail in materials or workmanship within specified warranty period.

Warranty Period: Ten (10) years from date of Substantial Completion, unless otherwise indicated.

Exceptions: Not including metal finishes and other consumable materials.

PRODUCTS

PERFORMANCE REQUIREMENTS

Retain applicable standards below as required for the project, based on local building codes, state laws, project funding sources, involved parties or occupant groups, or other project requirements; delete others where not applicable.

Accessibility Requirements: For door hardware on doors in an accessible route, comply with [the DOJ's "2010 ADA Standards for Accessible Design"] [the DOT's "ADA Standards for Transportation Facilities"] [the ABA standards of the Federal agency having jurisdiction] [ICC A117.1] [and] [HUD's "Fair Housing Accessibility Guidelines"].

Provide operating devices that do not require tight grasping, pinching, or twisting of the wrist and that operate with a force of not more than 5 lbf (22.2 N).

Comply with the following sliding door maximum opening-force requirement: 5 lbf (22.2 N) applied parallel to door at latch.

Bevel raised thresholds with a slope of not more than 1:2. Provide thresholds not more than 1/2 inch (12.7 mm) high.

Retain appropriate "Recycled Content" articles below if required for LEED Credit MR 4. Krownlab’s aluminum components typically have approximately 25 percent postconsumer recycled content. Krownlab’s steel components typically have approximately 40 percent postconsumer recycled content. Krownlab’s stainless steel components typically have approximately 40 percent postconsumer recycled content and approximately 2 percent preconsumer recycled content.

Recycled Content Requirements:

Aluminum Components: Postconsumer recycled content plus one-half of preconsumer recycled content not less than 20 percent.

Steel Components: Postconsumer recycled content plus one-half of preconsumer recycled content not less than 35 percent.

Stainless Steel Components: Postconsumer recycled content plus one-half of preconsumer recycled content not less than 35 percent.

Product Performance Testing Requirements:

Article below applies to all product lines by Krownlab in this Section:

Provide products of stainless steel and aluminum construction in which the system has been tested to 1,500,000 complete cycles using a door panel of 400 pounds (182 kg) weight (exceeding an average of more than 65 complete cycles per day for 60 years; suitable for commercial and hospitality environments).

MATERIALS

Metals:

Metal Surfaces, General: Provide metal materials with smooth, flat surfaces, without seam marks, roller marks, rolled trade names, or blemishes.

Aluminum: Alloy and temper recommended by manufacturer for type of use and finish indicated.

Extruded Profiles: ASTM B 221.

Stainless-Steel Sheet, Strip, and Plate: ASTM A 240 or ASTM A 666, Type 304.

Stainless-Steel Shapes and Bars: ASTM A 276, Type 304.

Stainless-Steel Bars, for Machining: ASTM A 582, Type 303.

Stainless Steel Bearing: SAE 51440C, AISI 440C

Plastics: Provide latex-free plastics that are resistant to degradation by oil, fuel and other chemicals.

At Sliding, Rolling Surfaces and Spacers: Polyoxymethylene, also known as Acetal or acrylonitrile butadiene styrene (ABS); provide fine surface finish; black color.

For Acetal, provide product: Delrin by E. I. Du Pont De Nemours and Co.; www.dupont.com.

At Bumpers and Other Impact Surfaces: Acrylonitrile butadiene rubber, also known as nitrile rubber; black color.

At Safety Stops: Polycarbonate; black color; provide one of the following products:

Lexan by Saudi Basic Industries Corp. (SABIC); www.sabic-ip.com.

Makrolon by Covestro AG; www.plastics.covestro.com.

MANUFACTURERS

Source Limitations: Obtain all glazed shower compartment hardware and panels from a single source from a single manufacturer.

Basis-of-Design Glazed Shower Compartment Hardware Manufacturer: Krownlab, Inc., Portland, Oregon; www.krownlab.com.

Glazing Manufacturers: Refer to Section 088000 “Glazing”.

DISTRIBUTORS

Factory Distribution of Basis-of-Design Products: Krownlab, Inc., Portland, Oregon; www.krownlab.com; support@krownlab.com; telephone +1 503-292-6998; facsimile +1 503-206-7236.

PRODUCTS

Basis-of-Design Glazed Shower Compartment Hardware Product: Provide Freya by Krownlab.

System: Includes track, two bearing wheels, two wheel safety stops, track-to-wall mounting hardware, door-to-wheel mounting hardware, and bottom guide.

Material: Stainless steel and aluminum.

Bearing Wheel: Nylon wheel.

Door Mounting: For glazing panels 1/4 to 1/2 inches (6.4 to 12.7 mm) thick.

Wheel: Nylon with steel ball bearings; 1.75 inch (44.45 mm) O.D. sealed bearing.  Provide internal cam allowing adjustment of panel alignment.

Track: 2-1/2 x 3/4 inch (63.5 x 19.1 mm) aluminum extrusion. Modifiable in-the-field following manufacturer’s recommendations. Grooved inside surface of rail to allow for adjustment of levelness and alignment of the track at each attachment point to within 0.063 inch (1.6 mm) increments. Snap-in aluminum cover plate using steel spring clips shall conceal mounting fasteners. Refer to Finishes articles for aluminum finishes.

RORIK track is able to be installed at either of two wall configurations: Alcove (PA; one-sided) and Corner (PC; two- or three-sided).

Select one of the two articles below for RORIK track mounting configuration(s); delete other where not applicable:

PA: Alcove (one-sided configuration with one sliding glass panel and one fixed glass panel)

PC: Corner (two- or three-sided configuration with one sliding glass panel and fixed glass panels).

PB: Bypass (one-sided configuration with two sliding glass panels).

RORIK track is modifiable in the field, and is available in three configurations: Undrilled in lengths up to 13 feet (in one foot increments); pre-drilled in lengths up to 13 feet (in one foot increments); and pre-drilled to custom lengths (up to 13 feet).

Select one of the three articles below for RORIK track configuration; delete others where not applicable:

Provide a single Freya standard increment track; undrilled, to length indicated in Drawings.

Provide a single Freya standard increment track; pre-drilled, to length indicated in Drawings.

Provide a single Freya Custom track; pre-drilled, to custom length [indicate length] inches.

Perpendicular Attachment: Wall Socket by Krownlab to terminate a length of track against a wall perpendicular to the supporting wall, with field adjustability feature allowing for adjustment of levelness and alignment of the track at each attachment point, raising and lowering by 1/8-inch (3.2 mm) up and down, for a total of 1/4-inch (6.4 mm) of adjustment.

Material: Stainless steel and aluminum.

Finish: Semi-polished edges and manufacturer’s standard finish at exposed face; refer to Finishes articles.

Fastening Hardware: Stainless steel; included.

Spring Clips: Zinc-plated spring steel clips; for the retention of the aluminum cover plate at the rail.

Track Mounting Hardware: Provide track mounting hardware designed for and appropriate to the wall type or substrate indicated:

RORIK track is able to be installed at either of two wall types (framed wall and concrete walls), as well as to steel beams and adjacent, stationary glass panels in shower compartment systems.

Select one of the four articles below for RORIK track mounting substrate; delete others where not applicable:

Framed Wall: Provide 5/16 inch (7.9 mm) zinc-plated wood thread lag bolt; ensure 3 inches minimum of solid wood blocking attached securely to framing members and capable of carrying loads imposed.

Concrete Wall: Provide 5/16 by 3 inch (7.9 x 76.2 mm) self-tapping concrete anchors; “Tapcon” brand or others.

Steel Beam: Provide 5/16 inch x 18 tpi (7.9 mm x 1.411 pitch) x 4 inch (101.6 mm) long bolt and self-locking nut; “Nylock” brand or others.

Stationary Glass Panels: Provide hex-head bolt and recessed hex-head T-nut with gaskets. Ensure glazing thickness between 3/8 inch (9.5 mm) and 1/2 inch (12.7 mm).

Track Closure: Track End Cap by Krownlab to provide closure at the end of track.

Material: Stainless steel.

Finish: Semi-polished edges and manufacturer’s standard finish at exposed face, as follows; refer to Finishes articles:

Fastening Hardware: Stainless steel for exposed components; zinc-plated mild steel for concealed components; included.

Bottom Guide: Glass Bottom Guide by Krownlab to align and guide movement of the glass shower door panel.

Materials: Stainless steel stock; with Polyoxymethylene (Acetal or ABS) sliding/ contact surface.

Finish: Semi-polished edges and manufacturer’s standard finish at exposed face, as follows; refer to Finishes articles:

Fastening Hardware: Stainless steel; included.

Stainless Steel Finish: Manufacturer’s standard finishes as follows; refer to Finishes articles:

Select one of the two articles below for RORIK finish; delete other where not applicable:

            - S1: “Brushed Stainless - 32D”.

S3: “Black Stainless”.

Capacity: Capacity shall be 150 lbs. (68.2 kg) per panel.

For RORIK custom track, retain the article below.

Customization: Available; contact: support@krownlab.com

Information: https://krownlab.com/products/hardware-systems/freya

Glazing Products: Refer to Section 088000 “Glazing”.

SLIDING DOOR PULLS

Note that Krownlab pulls have NOT been tested to meet the operational and dimensional requirements of ADA, ABA and ICC A117.1. Such testing is pending; please contact Krownlab for more information at support@krownlab.com

Basis-of-Design Sliding Door Pull: Provide Ebba by Krownlab.

Material: Stainless steel; 3/16 inch (4.8 mm) thickness; Manufacturer’s standard rubber seal at interior face of Ebba Open.

Size: Manufacturer’s standard 3-1/4 inches (82.6 mm) diameter.

Mounting at Glass Door Panels: Manufacturer’s standard 3-1/4 inches (82.6 mm) diameter; for glass panels 3/8 inch (9.5 mm) to 3/4 inch (19.0 mm) thick.

Configuration: Double-sided.

Finish: Manufacturer’s standard finish as follows; refer to Finishes articles:

Select one of the two articles below for EBBA finish; delete others where not applicable:

“Brushed Stainless - 32D” (S1).

“Black Stainless” (S3).

ACCESSORIES

Bottom Stop: Manufacturer’s standard bottom stop to provide a cushioned stop at the end(s) of door travel.

Material: Stainless steel, with rubber bumper.

Select one of the two items below for BOTTOM STOP finish; delete other where not applicable:

          - Finish: [“Brushed Stainless - 32D” (S1)] [“Black Stainless” (S3)].

Fastening Hardware: Stainless steel; recessed hex-head; included.

FABRICATION

Fabrication Tolerances:

Size:

Aluminum components: Plus or minus 1/32 inches (0.8 mm) of required size.

Stainless steel components: Plus or minus 1/32 inches (0.8 mm) of required size.

All materials, tolerance for length of track and locations of holes in track: Plus or minus 1/8 inches (3.2 mm).

Clearances:

Between Components: Plus or minus 1/32 inches (0.8 mm).

Bottom: 3/8-inch (9.5 mm) from floor to bottom of moveable panel.

FINISHES

        - Stainless Steel:

Retain articles below for all stainless steel component finishes indicated for hardware components:

S1: “Brushed Stainless - 32D”: No. 4 satin, directional finish stainless steel.

S3: “Black Stainless”: No. 4 satin, directional finish stainless steel with a black-oxide magnetite (Fe3O4) treatment in a hot bath of sodium hydroxide, nitrates, and nitrites. Meet US military specification MIL-DTL-13924, Class 4.

Aluminum: Provide color anodic finish; Meet AAMA 611, Class II or MIL-A-8625F, Type II, Class 2; 0.010 mm or thicker.

Retain the article below for aluminum component finish when “ Brushed Stainless” (S1) finish is selected for stainless steel hardware components; delete if not applicable:

[Color: AA-M33-C22-A23-KLS, proprietary color anodized to match no. 4 satin, directional finish stainless steel “Brushed Stainless - 32D” (S1).]

Retain the article below for aluminum component finish when “Black Stainless” (S3) finish is selected for stainless steel hardware components; delete if not applicable:

[Color: AA-M33-C22-A33-KLB, proprietary color anodized to match no. 4 satin, directional finish stainless steel with a black-oxide magnetite (Fe3O4) treatment “Black Stainless” (S3).]

FASTENERS

General: Manufacturer shall provide all fasteners for installation of sliding door hardware. Base metal and finish shall match glazed shower compartment hardware. Only stainless steel fasteners are to be provided.

Stainless-Steel Bolts and Nuts: Regular hex head stainless steel capscrew, ASTM F 593; and where indicated, with hex nuts, ASTM F 594; and flat washers; Alloy Group 1.

Stainless-Steel Screws: Regular recessed Phillips head screw, ASTM F 593.

For Contractor-Installed Anchors: Contractor shall install anchors provided by the manufacturer, for appropriate anchorage to framed walls, glass partitions, steel structure or concrete substrate; refer to “Track Mounting Hardware” articles above.

EXECUTION

EXAMINATION

Examine door panels and substrates at the door openings, with the specialty door hardware Installer present, for compliance with requirements for installation tolerances, wall and floor construction, and other conditions affecting installation and performance.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Attachment points for specialty door hardware may not align with existing framing or blocking locations. Heights and locations for installation of specialty door hardware components are indicated on Drawings.

At wood or light-gauge metal framed partitions, ensure the provision and proper installation of additional framing or blocking within the partition’s framing cavity prior to hardware installation.

Coordinate the correct location for additional blocking or framing; height of the attachment point is based on the overall height of the door panel; the location for track mounting points is approximately 2-1/4 inches (57.2 mm) above the top of door panel.

Retain either or both of the articles below, as required.

In new construction, ensure appropriate blocking is added in the correct locations during framing, prior to drywall installation. Coordinate with [Section 061000 "Rough Carpentry"] [Section 061053 "Miscellaneous Rough Carpentry"]

In renovations, partially remove drywall to expose the framing cavity and install appropriate blocking in the correct locations.

Glass Doors: Provide holes and cutouts in glass to receive hardware, fittings, and accessory fittings before tempering glass. Do not cut, drill, or make other alterations to glass after tempering.

Comply with specialty door hardware manufacturer's written recommendations for locations and other dimensions for holes and cutouts in glass panels.

Ensure that glass has been fully tempered or otherwise meets safety glazing requirements of the building code.

Unless otherwise indicated, glass shall be of fully tempered type (FT), using horizontal (roller-hearth) process, and fabricated so that when glass is installed, roll-wave distortion is parallel with bottom edge of glass door panel.

INSTALLATION

Install each specialty door hardware item to comply with manufacturer's written instructions. Where cutting and fitting are required to install specialty door hardware onto or into surfaces that are later to be painted or finished in another way, protect specialty door hardware items until finishes have been completed on substrates involved.

Set specialty door hardware items level, plumb, and true to line and location. Adjust and reinforce attachment substrates as necessary for proper installation and operation.

Track Adjustability: Utilize manufacturer’s standard toothed washer and grooved inside surface of rail to provide levelness and alignment of the track at each attachment point.

Door Adjustability: For face-mount and glass door installations, utilize manufacturer’s concealed Allen-head screw to provide levelness and alignment of the door height at each bearing wheel.

Door Stop Adjustability: Utilize manufacturer’s Allen-head screw to properly locate and secure the door stop along the bottom of the track.

Wheel Safety Stop: Utilize manufacturer’s concealed plastic retainer to restrain and secure the trollies on the track once each has been installed.

Appropriately prepare substrates that are not as indicated for manufacturer-provided anchorage fasteners. Space fasteners and anchors according to manufacturer's written instructions.

ADJUSTING

Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit. Replace units that cannot be adjusted to operate as intended.

Following installation and adjustment, cycle the door panel open and closed 20 times to redistribute the lubricant within the wheels (bearings).

CLEANING AND PROTECTION

Clean adjacent surfaces soiled by specialty door hardware installation.

Clean operating items as necessary to restore proper function and finish.

Retain the article below for finishes indicated for hardware components:

For Stainless Steel Components in the “Black Stainless” (Bs) Line: With a clean towel, apply a thin coating of petroleum jelly (e.g. Vaseline by Unilever: www.vaseline.us) and buff clean and dry. Test at an obscure location to confirm acceptability of treatment.

Provide final protection and maintain conditions that ensure that specialty door hardware is without damage or deterioration at time of Substantial Completion.

MAINTENANCE

Wheels (bearings) should occasionally be lubricated with bearing oil (e.g. SHC 630 Synthetic Gear and Bearing Oil by Exxon Mobil Corp.: www.mobil.com).

END OF SECTION 102116.15

Retain this page as required to allow document to be an even number of pages, for printing reasons within the overall specification book or project manual.

THIS PAGE INTENTIONALLY BLANK